TN-C-S Earthing System

- Search on the internet how a TN-C-S Earthing System looks like. Place a picture of this Earthing System here below.

- Wich of the Earthing System Board would you need to create this system. Place Them in the correct order en draw the connections on it.

- Where is this system used?

- Build the system and do some measurements.

| Messure points |  | Voltage (V) |
| --- | --- | --- |
| Messure on this board. | U1+W1 |  |
|  | U1+V1 |  |
|  | W1+V1 |  |
|  | U1+PEN (U2, W2, V2) |  |

| Messure points |  | Voltage (V) |
| --- | --- | --- |
| Messure on this board. | L1+L2 |  |
|  | L1+L3 |  |
|  | L2+L3 |  |
|  | L1+PEN |  |

- In a real life system what would the values be?

| Messure points |  | Voltage (V) |
| --- | --- | --- |
| On this board. | U1+W1 |  |
|  | U1+V1 |  |
|  | W1+V1 |  |
|  | U1+PEN (U2, W2, V2) |  |

- Ad this board to the system and connect it to the 1-fase circuit breaker.

and make the following connections.

What happens? How do you call this phenomenon?

- Make the following connections.

Turn on the switches one by one and measure the voltage on the lamps

Voltage over lamp 1  (25W) .........................................................

Voltage over lamp 1  (25W) .........................................................

Voltage over lamp 1  (50W) .........................................................

What happens after you turn on all switches? How do you call this phenomenon? Remark: be patient it could take a few minutes before something happens.

Search for a circuit breaker characteristic and show what is happening.

- Ad this board to the system and connect it to the 2-pole circuit breaker.

- Make the following connections.

Turn on both switches. What happens? How do you call this phenomenon?

- Make the following connections.

Messure the current at the different positions of the switch. Write down the value.

Switch position 1: ......................................................

Switch position 2: .......................................................

Switch position  3: .......................................................

Switch position 4: .......................................................

What happens? How do you call this type of current?